Abstract test cases

|  |  |
| --- | --- |
| **Test case** | **Test case description** |
| sSBOns8 | Verify cancel parameters are ignored for SBOns |

|  |  |  |
| --- | --- | --- |
| sSBOns8 | Verify cancel parameters are ignored for SBOns | Passed  Failed  Inconclusive |
| IEC 61850-7-2 Subclause 20.2.2  IEC 61850-8-1 Subclause 20.4 and 20.7  TISSUE 1703 | | |
| Expected result  1. DUT responds with Select.response+  2. DUT responds with Cancel.response+  3. DUT indicates selection is canceled  4. The control object returns to the “Unselected” state: stSeld=F or Select response+ | | |
| Test description  1. Client sends valid Select request to a control object  2. Client sends Cancel with same ControlObjectReference as the Select and one of the following attribute values:   1. ctlVal = present value 2. ctlVal = value different from present value 3. origin.orCat = 1 4. origin.orIdent = all zeroes 5. ctlNum = 0 6. T = present time - 1 minute 7. T = present time + 1 minute 8. Test = true 9. Check = 00 10. Check = 11 11. To verify the Unselected/Ready state client requests either GetDataValues(stSeld) or Select after each step followed by a cancel 12. Repeat steps 1-3 for each item in step 2 | | |
| Comment | | |