# UCA IOP 2022 Problem Report Sheet

|  |  |
| --- | --- |
| Reporting Person: | Benson Chacko |
| Check the CheckBox most appropriate test area(s) concerning the reported issue: |
| Test Area | [x] SCL | [ ] Client/Server | [ ]  GOOSE | [ ] SV |
| [x] R-GOOSE | [ ] Security | [ ] PRP/HSR |  [ ] TimeSync |
| [ ] Maintenance / Isolation | [ ] Infrastructure |  |  |
| Check the CheckBox regarding the general classification of the issue: |
| Type of issue: |  [ ] Test Case | [ ] Standard | [x] General | [ ] Unknown |
| Problem Statement (type into the following cell): |
| From the iec61850-6 standard, there is no attribute to define maximum no of R-GOOSE publishers supported. R-GOOSE capability need not be same as NORM GOOSE. As R-GOOSE might be used only for inter substation communication |

|  |
| --- |
| To be filled out during Group Problem Review: |
| Check the CheckBox most appropriate problem category: |
| Problem with: | [ ] Implementation | [x] Standards | [ ]  TestCase | [ ] Interpretation |
| [ ] Other |  |  |  |
|  |  |  |  |
| Check the CheckBox regarding the general classification of the issue: |
| Solution |  [ ] Refer to Standards | [ ] See Below |  |  |
| Proposed Solution (type into the following cell): |
| Believe there should be a differentiation in the service section between GOOSE and R-GOOSE support.Should refer to UFTF. |

Note that the file needs to be named: <DateTime>.\_<Test Area>\_<Witness>\_<Test Case>.docx.
<DateTime> should be of format 202207ddhhmm (hhmm in 24 hour time).
Upload filled out document into: [UCAIug Box]/IEC61850 IOP/..Restricted Information/Problem Reports/reported
(<https://app.box.com/folder/166086762694>)