## WG10 Fall Workshop
General importance
Discussion Point | Rankings | High | Medium | Low | Link to CTS | Categorization Morning Session | Categorization Afternoon Session | 1-2 | -4 | -5 | -6 | 6-100 | -6-2 | -7-1 | -7-2 | -7-3 | -7-4 | -7-5 | -7-6 | -7-7 | -8-1 | -9-2 | -9-3 | 90-4 | Notes Morning session (in addition to the summary on the collab tool)
Update SCL Model of Circuit Breaker/Disconnector Switch | 1 | 12 | 14 | 11 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724224 | High Priority NWIP/PWI (2021 Workplan) | High Priority NWIP/PWI (2021 Workplan) | [9 empty] | x | [7 empty] | as well 7-500, 90-3, 62271-3; initially create TF to prepare a PWI maybe for a TR
Improved SCL Modelling of Function Inputs (InRef/ExtRef) | 2 | 18 | 15 | 5 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/723894 | Moderate Priority NWIP/PWI (2022 Workplan) | Moderate Priority NWIP/PWI (2022 Workplan) | [17 empty] | Consolidate the ongoing work related to it first
Asset Management of Setting & Configuration Data | 3 | 16 | 16 | 5 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724241 | Moderate Priority NWIP/PWI (2022 Workplan) | Low Priority NWIP/PWI (Future Worksplan)
Golden Single Line Diagram For All SCL/GCL/HCL Examples | 4 | 8 | 12 | 10 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/722608 | High Priority NWIP/PWI (2021 Workplan) | High Priority NWIP/PWI (2021 Workplan) | [17 empty] | At least for the primary part
Future of MMS & Possible Alternative Communication Service Mappings | 5 | 14 | 18 | 6 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724236 | Moderate Priority NWIP/PWI (2022 Workplan) | Low Priority NWIP/PWI (Future Worksplan)
IEC 61850 House Keeping (90 series, new website, maintainence schedules) | 6 | 9 | 17 | 11 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724242 | Minor Amendment/TISSUE to Existing Document | Minor Amendment/TISSUE to Existing Document | [17 empty] | create a maintenance TF within WG10
SCL Modelling of the Communication Network and All its Components (Christoph/Fred) - Fred | 7 | 22 | 12 | 2 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724706 | Moderate Priority NWIP/PWI (2022 Workplan) | Moderate Priority NWIP/PWI (2022 Workplan)
(Christoph) |  |  |  |  | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719078 | [19 empty] | already solved
Logical Nodes for SLD/Topology Aware Functions | 8 | 12 | 16 | 9 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724217 | Moderate Priority NWIP/PWI (2022 Workplan) | Moderate Priority NWIP/PWI (2022 Workplan)
Validation of SCL Files Using Object Constraint Language (OCL) | 9 | 14 | 13 | 9 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/723864 | High Priority NWIP/PWI (2021 Workplan) | High Priority NWIP/PWI (2021 Workplan)
Overhaul of UCA Conformance Testing Certificate & Database | 10 | 8 | 19 | 10 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719289 | High Priority NWIP/PWI (2021 Workplan) | High Priority NWIP/PWI (2021 Workplan)
Consistent Handling of Abbreviations for Data Object Names Within/Across All Domains and Namespaces | 11 | 13 | 17 | 7 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/720322 | High Priority NWIP/PWI (2021 Workplan) | High Priority NWIP/PWI (2021 Workplan)
SCL Control Block | 12 | 4 | 23 | 10 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724215 | Moderate Priority NWIP/PWI (2022 Workplan) | Moderate Priority NWIP/PWI (2022 Workplan)
Consolidation & Management of IEC 61850 User Feedback | 13 | 12 | 19 | 7 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724421 |  | High Priority NWIP/PWI (2021 Workplan)
IEC 61850 & IEEE H30 Liaison | 14 | 3 | 17 | 17 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719283 |  | High Priority NWIP/PWI (2021 Workplan)
New Logical Nodes (Door, Battery Charger, etc.) - Door | 15 | 4 | 15 | 17 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724223 |  | Low Priority NWIP/PWI (Future Worksplan)
New Logical Nodes - Battery Charger | - | - | - | - | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719248 |  | Moderate Priority NWIP/PWI (2022 Workplan)
Next Steps with IEC 61850-90-11 (Publish versus Corrigenda) | 16 | 8 | 13 | 15 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719278 |  | High Priority NWIP/PWI (2021 Workplan)
Logical Node Groups with Dedicated Namespaces | 17 | 7 | 13 | 17 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/720308 |  | Moderate Priority NWIP/PWI (2022 Workplan)
Management of SCL File Sizes (Compression Techniques, Handling of Privates) | 18 | 12 | 12 | 13 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724703 |  | Low Priority NWIP/PWI (Future Worksplan)
Support for Textual Descriptors, Multi-languages, etc. | 19 | 9 | 17 | 12 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719264 |  | High Priority NWIP/PWI (2021 Workplan)
SCL Engineering Lifecycle, Types and Security for SCL files and Elements (Joerg) | 20 | 16 | 16 | 5 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724801 |  | Moderate Priority NWIP/PWI (2022 Workplan)
SCL Extensions (partial configuration updates in a top-down approach, mixed editions with private CDCs, etc.) (Michael) | - | - | - | - | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724780 |  | Low Priority NWIP/PWI (Future Worksplan)
More Explicit Rules/Requirements for ConfRev/NdsCom | 21 | 11 | 16 | 10 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724704
Compression of Sample Value Messages | 22 | 5 | 14 | 18 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719272 |  | Low Priority NWIP/PWI (Future Worksplan)
SCL Modelling of the Test Equipment | 23 | 11 | 15 | 11 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724702 |  | Low Priority NWIP/PWI (Future Worksplan)
Logical Device Inheritance Rules for LocSta | 24 | 9 | 19 | 9 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724756 |  | Minor Amendment/TISSUE to Existing Document
Broadcasting from a Data Producer to Many Consumers | 25 | 2 | 11 | 21 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724222 |  | Low Priority NWIP/PWI (Future Worksplan)
Inter-substation GOOSE Naming convention (90-1) | 26 | 4 | 21 | 11 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724752 |  | Minor Amendment/TISSUE to Existing Document
Spontaneous Transmission of Data from a Producer to a Consumer | 27 | 2 | 12 | 20 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724221 |  | Low Priority NWIP/PWI (Future Worksplan)
Extensions to "Z" Logical Nodes (e.g. ZBAT) | 28 | 3 | 20 | 14 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719080
Harmonization of SCL Data Models for Fundamentals, Non-fundamentals, Harmonics, Interharmonics | 29 | 4 | 12 | 18 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/719079 |  | Moderate Priority NWIP/PWI (2022 Workplan)
IEC 61850-7-5 Extensions (MCB trips, Lockout trips, etc.) | 30 | 9 | 15 | 12 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724775 |  | Moderate Priority NWIP/PWI (2022 Workplan)
Harmonization with TS 62361-102 Ed1 CIM-61850 (SCL/LN) | 31 | 7 | 17 | 13 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724803 |  | Low Priority NWIP/PWI (Future Worksplan)
Integrating Data Models & Namespaces | 32 | 8 | 17 | 12 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724789 |  | Low Priority NWIP/PWI (Future Worksplan)
SCL Modelling of Fault Measurements (RFMX) | 33 | 5 | 15 | 16 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724779 |  | Low Priority NWIP/PWI (Future Worksplan)
Enhanced Quality Information for Measurements (accuracy classes, update periods, filter applied, algorithm applied, etc.) | 34 | 2 | 15 | 20 | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724795 |  | Low Priority NWIP/PWI (Future Worksplan)
GOOSE commands |  |  |  |  | https://collaborate.iec.ch/#/pages/workspaces/137211/documents/145326/details/539706/discussions/724220 |  | High Priority NWIP/PWI (2021 Workplan)
Categorization
Minor Amendment/TISSUE to Existing Document
High Priority NWIP/PWI (2021 Workplan)
Moderate Priority NWIP/PWI (2022 Workplan)
Low Priority NWIP/PWI (Future Worksplan)
High
Minor
Moderate
Moderate / Low
Note on B2: Christoph Brunner: Immediate priority
Note on A43: Microsoft Office User: Minor, straight forward modification (fits in an existing Task Force or can easily be handled through the TISSUE process with a possible Amendment of an existing document).
Note on A44: Microsoft Office User: Topic ready to prepare NWIP/PWI (that means, the group agrees that the topic is well understood and needs to be addressed with high priority). Needs to be decided in workshop if we can launch PWI/NWIP process immediately or if due to work load it needs to be deferred. This topic fits within WG10's 2021 workload.
Note on A45: Microsoft Office User: Topic requires further discussion (to understand it; or group can not agree on its importance) - Needs to be discussed in a follow up meeting possibly next WG meeting. This topic does not fit within WG10's 2021 workload.
Note on A46: Microsoft Office User: Will remain on the list and will be evaluated again at the next similar workshop

## 2021-10 Status update
Discussion Point | Status | Comment
Update SCL Model of Circuit Breaker/Disconnector Switch | assigned | shall be started in 7-500
Improved SCL Modelling of Function Inputs (InRef/ExtRef)
Asset Management of Setting & Configuration Data
Golden Single Line Diagram For All SCL/GCL/HCL Examples | ongoing | has been started
Future of MMS & Possible Alternative Communication Service Mappings
IEC 61850 House Keeping (90 series, new website, maintainence schedules) | ongoing | discussions in the UML modelling group
SCL Modelling of the Communication Network and All its Components (Christoph/Fred) - Fred
(Christoph)
Logical Nodes for SLD/Topology Aware Functions
Validation of SCL Files Using Object Constraint Language (OCL) | ongoing | new TF
Overhaul of UCA Conformance Testing Certificate & Database | completed
Consistent Handling of Abbreviations for Data Object Names Within/Across All Domains and Namespaces | assigned | Laurent will initiate
SCL Control Block
Consolidation & Management of IEC 61850 User Feedback | completed
IEC 61850 & IEEE H30 Liaison | completed
New Logical Nodes (Door, Battery Charger, etc.) - Door
New Logical Nodes - Battery Charger
Next Steps with IEC 61850-90-11 (Publish versus Corrigenda) | assigned | check about starting the TF
Logical Node Groups with Dedicated Namespaces
Management of SCL File Sizes (Compression Techniques, Handling of Privates)
Support for Textual Descriptors, Multi-languages, etc. | assigned | No resoruces currently to start the TF
SCL Engineering Lifecycle, Types and Security for SCL files and Elements (Joerg)
SCL Extensions (partial configuration updates in a top-down approach, mixed editions with private CDCs, etc.) (Michael)
More Explicit Rules/Requirements for ConfRev/NdsCom
Compression of Sample Value Messages
SCL Modelling of the Test Equipment
Logical Device Inheritance Rules for LocSta | open | captured in Redmine or TISSUE DB
Broadcasting from a Data Producer to Many Consumers
Inter-substation GOOSE Naming convention (90-1) | open
Spontaneous Transmission of Data from a Producer to a Consumer
Extensions to "Z" Logical Nodes (e.g. ZBAT)
Harmonization of SCL Data Models for Fundamentals, Non-fundamentals, Harmonics, Interharmonics
IEC 61850-7-5 Extensions (MCB trips, Lockout trips, etc.)
Harmonization with TS 62361-102 Ed1 CIM-61850 (SCL/LN)
Integrating Data Models & Namespaces
SCL Modelling of Fault Measurements (RFMX)
Enhanced Quality Information for Measurements (accuracy classes, update periods, filter applied, algorithm applied, etc.)
GOOSE commands | ongoing | in TF Control services

## 2021-02 Status update
Discussion Point | Status | Comment
Update SCL Model of Circuit Breaker/Disconnector Switch | assigned | shall be started in 7-500
Improved SCL Modelling of Function Inputs (InRef/ExtRef)
Asset Management of Setting & Configuration Data
Golden Single Line Diagram For All SCL/GCL/HCL Examples | started | has been started
Future of MMS & Possible Alternative Communication Service Mappings
IEC 61850 House Keeping (90 series, new website, maintainence schedules)
SCL Modelling of the Communication Network and All its Components (Christoph/Fred) - Fred
(Christoph)
Logical Nodes for SLD/Topology Aware Functions
Validation of SCL Files Using Object Constraint Language (OCL) | assigned | will be TR - can be started; should have joint meetings with 6-100 and BAP
Overhaul of UCA Conformance Testing Certificate & Database | assigned | will be taken on the list of TF UF
Consistent Handling of Abbreviations for Data Object Names Within/Across All Domains and Namespaces | assigned | Laurent will initiate
SCL Control Block
Consolidation & Management of IEC 61850 User Feedback | completed
IEC 61850 & IEEE H30 Liaison | completed
New Logical Nodes (Door, Battery Charger, etc.) - Door
New Logical Nodes - Battery Charger
Next Steps with IEC 61850-90-11 (Publish versus Corrigenda) | assigned | An AHTF will prepare a corrigenda and plan the next steps
Logical Node Groups with Dedicated Namespaces
Management of SCL File Sizes (Compression Techniques, Handling of Privates)
Support for Textual Descriptors, Multi-languages, etc. | assigned | TF is established; will start work
SCL Engineering Lifecycle, Types and Security for SCL files and Elements (Joerg)
SCL Extensions (partial configuration updates in a top-down approach, mixed editions with private CDCs, etc.) (Michael)
More Explicit Rules/Requirements for ConfRev/NdsCom
Compression of Sample Value Messages
SCL Modelling of the Test Equipment
Logical Device Inheritance Rules for LocSta
Broadcasting from a Data Producer to Many Consumers
Inter-substation GOOSE Naming convention (90-1)
Spontaneous Transmission of Data from a Producer to a Consumer
Extensions to "Z" Logical Nodes (e.g. ZBAT)
Harmonization of SCL Data Models for Fundamentals, Non-fundamentals, Harmonics, Interharmonics
IEC 61850-7-5 Extensions (MCB trips, Lockout trips, etc.)
Harmonization with TS 62361-102 Ed1 CIM-61850 (SCL/LN)
Integrating Data Models & Namespaces
SCL Modelling of Fault Measurements (RFMX)
Enhanced Quality Information for Measurements (accuracy classes, update periods, filter applied, algorithm applied, etc.)
GOOSE commands | ongoing | in TF Control services

## Agenda Session 2
Time Slot | Discussion Point
17:00-17:20 | Update SCL Model of Circuit Breaker/Disconnector Switch
17:20-17:40 | Improved SCL Modelling of Function Inputs (InRef/ExtRef)
17:40-18:00 | Asset Management of Setting & Configuration Data
18:00-18:10 | Break
18:10-18:30 | Golden Single Line Diagram For All SCL/GCL/HCL Examples
18:30-18:50 | Future of MMS & Possible Alternative Communication Service Mappings
18:50-19:10 | IEC 61850 House Keeping (90 series, new website, maintainence schedules)
19:10-19:20 | Break
19:20-19:40 | SCL Modelling of the Communication Network and All its Components (Christoph/Fred) - Fred
19:40-20:00 | Logical Nodes for SLD/Topology Aware Functions
20:00-20:20 | Validation of SCL Files Using Object Constraint Language (OCL)
20:20-20:30 | Overhaul of UCA Conformance Testing Certificate & Database
20:30-20:45 | Close Out "Easy" Items (In Green)
20:45-21:00 | Schedule Follow-Up Webex for Each of the "Hard" Items (In Red)

## List
Minor Amendment/TISSUE to Existing Document
High Priority NWIP/PWI (2021 Workplan)
Moderate Priority NWIP/PWI (2022 Workplan)
Low Priority NWIP/PWI (Future Worksplan)