## Slide 1: IEC TC57 WG10/ UCA TPWG Impact of IEC 61850-6:AMD2 on certification
Thierry Dufaure / Camille Bloch October 31th, 2024
WG10 plenary - Nanjing

## Slide 2: Agenda
Publication of IEC 61850-6:AMD2
Project workflows
UCA Server TP 1.3 & IEC 61850-Ed2.1 Certificate
Recommendations

## Slide 3: Publication of IEC 61850-6:AMD2
IS is about to be published for namespace SCL 2007C5
SCT always latest
  SCT shall support 2007C5 as soon as ICD/IID SCL 2007C5 are involved/used
  IS includes an upgrading / downgrading rules annex

## Slide 4: Publication of IEC 61850-6:AMD2 Project workflows
2007C5
System tool
2007C5
IED tool A
2007B4
IED tool B
5b
2007C5
ICD B
1a
Generate ICD
  by IED tool A (2007C5)
2007B4
IID A
2007C5
IID B
5a
Generate
  IID by IED tool A (2007C5)
  IID by IED tool B (2007B4)
Ed. 2.1 device
2007C5
SCD
3
Generate SCD 2007C5
4a
4b
SCD import
  IED tool A imports SCD 2007C5
  IED tool B imports SCD 2007C5
  (mustUnderstand/mayIgnore)
2a
6b
System tool imports
  ICD A
6a
System tool imports
  IID A
  IID B (upgrade to 2007C5)
7
Export SCD…
Ed. 2.1 device
2007B4
SCD
0
0. Import existing project by System tool
(upgrade to 2007C5)

## Slide 5: Publication of IEC 61850-6:AMD2 (alternative – downgrading rules) Project workflows
2007C5
System tool
2007C5
IED tool A
2007B4
IED tool B
5b
2007C5
ICD B
1a
Generate ICD
  by IED tool A (2007C5)
2007B4
IID A
2007C5
IID B
5a
Generate
  IID by IED tool A (2007C5)
  IID by IED tool B (2007B4)
Ed. 2.1 device
2007C5
SCD
3a
Generate SCD
  2007C5
  200B4 (downgraded rules)
4a
SCD import
  IED tool A imports SCD 2007C5
  IED tool B imports SCD 2007B4
2a
6b
System tool imports
  ICD A
6a
System tool imports
  IID A
  IID B (upgrade to 2007C5)
Ed. 2.1 device
2007B4
SCD
0
0. Import existing project by System tool
(upgrade to 2007C5)
2007B4
SCD
3b
4b

## Slide 6: Publication of IEC 61850-6:AMD2 Project workflows – project remains with SCL 2007B4
2007B4
System tool
2007C5
IED tool A
2007B4
IED tool B
5b
2007B4
ICD B
1a
Generate ICD
  by IED tool A (2007B4)
2007B4
IID A
2007B4
IID B
5a
Generate
  IID by IED tool A (2007B4)
  IID by IED tool B (2007B4)
Ed. 2.1 device
2007B4
SCD
3
Generate SCD 2007B4
4a
4b
SCD import
  IED tool A imports SCD 2007B4
  IED tool B imports SCD 2007B4
2a
6b
System tool imports
  ICD A
6a
System tool imports
  IID A
  IID B (upgrade to 2007B4)
7
Export SCD…
Ed. 2.1 device
2007B4
SCD
0
0. Import existing project by System tool
(upgrade to 2007B4)

## Slide 7: Publication of IEC 61850:AMD2 SICS
ICT
Mandate ICD/IID export of 2007B4 in testing procedure for migration?
Conclusion: WG10 does not mandate it. Do we want to test the 2007B4 ICD/IID export during certification? Yes. Optional based on support.

## Slide 8: Publication of IEC 61850:AMD2 SICS
SCT
Mandate SCD import of 2007B4 in testing procedures for migration?
Conclusion: WG10 does not mandate it. Tested optionaly based on support.

## Slide 9: Server Conformity Certificate Template
Proposal:
  Make Part6:AMD2 test cases optional for an IEC61850 Edition 2.1 Server testing
  Add both Part 6 AMD to the certificate when Part6:AMD2 is supported
Notes: Proposal not accepted because it is making presence with older SCL and will not motivate manufacturer of IED to move to Ed2.2

## Slide 10: Conclusion
New Server/Client TP:
  At least 2007B4
  or
  Phase out scenario:
  At least 2007C5
  + test export IID/ICD 2007B4 if support is declared. new PIXIT entry for the configuration group
New Tool ICT:
  ICT at least 2007B4
  or
  Phase Out scenario:
  ICT at least 2007C5
New Tool SCT:
SCT at least 2007C5
Notes: If we do mandate the support of 2007B4, tool and server will not move to Ed2.2. + will create precedence in future that Ed2.1 is the golden nugget.
Therefore, a phase out is the preferred approach.
Phasing out of SCL 2007B4 could be correlated with the SCT ED2.2 TP publication, because we need to make sure that SCT 2007C5 exist and can be certified.

## Slide 11: Server/Client TP modification
Proposal
  Phasing out SCL 2007B4 files within 1 year after publication of SCT 2007C5 TP
  New optional tests ICT export/import 2007B4 files. New PIXIT entry for the configuration group
  Mandate ICT export/import at least 2007C5 files
  Update certificate for edition 2.1 device referencing IEC61850-6:AMD2
Notes: test export IID/ICD 2007B4 if support is declared. new PIXIT entry for the configuration group

## Slide 12: Tool Conformity
Proposal:
  New TP for conformity to Part 6:AMD2 for SCT + ICT
  New certificate for conformant tools

## Slide 13: Recommendation to the users
Users can put in their requirements:
  If SCL 2007B4 engineering is requested
Users requesting a certified device according to TP 1.4 will get a SCL 2007C5 engineering environment

## Slide 14
www.iec.ch