Solution to redmine 7101

1. **SCL Services LogSettings has no attribute for LogRef**

March 4, 2025

The SCL Services LogSettings do have dyn/conf/fix attributes for LCB.datSet-logEna - trgOps - intgPd. but not for **LogRef** !

The sLog13 requires to check if LCB.LogRef is writable or not. Part 8-1 table 75 indicates the MMS LCB.LogRef is "r/w".
It seems an SCL attribute is missing. Raise a tissue to add this in the next revesion of the standard. Fot the current version add a PIXIT entry.

|  |  |  |
| --- | --- | --- |
| **sLog13** | **SetLCBValues with multiple attributes in one request** | [ ]  Passed[ ]  Failed[ ]  Inconclusive |
| IEC 61850-7-2 Subclause 17.3.2IEC 61850-8-1 Subclause 17.3PIXIT-Lg6 |
| Expected result1. DUT sends SetLCBValues response+ 2. DUT sends GetLCBValues response+ with LogEna = T |
| Test description1. Client configures all supported “dyn” attributes, LogRef when writable (PIXIT) and enables the LCB in a single SetLCBValues request. The order of the ListOfVariables is: LogRef/DatSet/TrgOps/IntgPd, LogEna=T2. Client request GetLCBValues |
| CommentIEC 61850-8-1 Table 65 specifies LogEna, LogRef, DatSet, TrgOps and IntgPd may be writable |

|  |  |  |  |
| --- | --- | --- | --- |
| Lg6 | 2 | Is LCB.LogRef writable? | Y/N |